## M4
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magintude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
M4, Pressure Reducing Station - Sandy Shores PRV
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Essembly #
1 | Mobilization (20%) | 1 | LS | 5700 | 5700
2 | Altitude Valve, 8-inch | 1 | EA | 8600 | 8600 |  | 33 14 19.20 | 170
3 | Precast Concete Utility Box | 1 | EA | 3900 | 3900 |  | 33 05 63.13 | 40
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Excavation and Fill | 50 | LCY | 35.5 | 1775 |  | 31 23 23.16 | 50
6 | Compaction | 37.037 | ECY | 6 | 222.2222 |  | 31 23 23.16 | 500
7 | TESC-Revegitation Mat | 22.2222 | SY | 4.27 | 94.8889 |  | 31 25 14.16 | 120
8 | TESC-Silt Fence | 96 | LF | 1.92 | 184.32 |  | 31 25 14.16 | 1000
9 | Trench Safety | 24 | LF | 4 | 96 |  | In-house
10 | Testing | 24 | LF | 2 | 48 |  | In-house
11 | Unimproved surface restoration | 22.2222 | SY | 4.47 | 99.3333 |  | 32 11 23.23 | 50
|  |  |  | CONSTRUCTION COST SUBTOTAL | 34269.7644
|  |  |  | SALES TAX 9.3% | 3187.0881
|  |  |  | Bond @ $12/1000 +10% O&P | 494.4305
|  |  |  | 10% CONTINGENCY | 3800
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 1544.7975
|  |  |  | TOTAL CONSTRUCITON COSTS | 43296.0805
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 49200
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 15200
|  |  |  | PROJECT COST | 64400
1 | Prices were based on the 2020 Heavy Contstruction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D1
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D1, Replace Undersized Lines, Lower Sandy – 275th
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 60000 | 60000
2 | Water Line, 8-Inch Dia (DIP) | 1850 | LF | 86 | 159100 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 4 | EA | 2550 | 10200 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 6 | EA | 6775 | 40650 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 0 | EA | 990 | 0 |  | 33 14 19.20 | 1120
7 | Thrust Block | 7 | EA | 111 | 777 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 0 | CY | 86.5 | 0 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 1387.5 | LCY | 35.5 | 49256.25 |  | 31 23 23.16 | 50
10 | Compaction | 1027.7778 | ECY | 6 | 6166.6667 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 616.6667 | SY | 4.27 | 2633.1667 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 3700 | LF | 1.92 | 7104 |  | 31 25 14.16 | 1000
13 | Trench Safety | 1850 | LF | 4 | 7400 |  | In-house
14 | Testing | 1850 | LF | 2 | 3700 |  | In-house
15 | Unimproved surface restoration | 616.6667 | SY | 4.47 | 2756.5 |  | 32 11 23.23 | 50
16 | Traffic Control | 1850 | LF | 2 | 3700 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 360218.5833
|  |  |  | SALES TAX 9.3% | 33500.3282
|  |  |  | Bond @ $12/1000 +10% O&P | 5197.0896
|  |  |  | 10% CONTINGENCY | 39900
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 16236.192
|  |  |  | TOTAL CONSTRUCITON COSTS | 455052.1933
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 516600
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 159300
|  |  |  | PROJECT COST | 675900
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D2
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D2, 94th to Pt. Piner Connection
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 38500 | 38500
2 | Water Line, 8-Inch Dia (DIP) | 1110 | LF | 86 | 95460 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 2 | EA | 2550 | 5100 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 4 | EA | 6775 | 27100 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 1 | EA | 990 | 990 |  | 33 14 19.20 | 1120
7 | Thrust Block | 5 | EA | 111 | 555 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 2 | CY | 86.5 | 173 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 832.5 | LCY | 35.5 | 29553.75 |  | 31 23 23.16 | 50
10 | Compaction | 616.6667 | ECY | 6 | 3700 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 370 | SY | 4.27 | 1579.9 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 2220 | LF | 1.92 | 4262.4 |  | 31 25 14.16 | 1000
13 | Trench Safety | 1110 | LF | 4 | 4440 |  | In-house
14 | Testing | 1110 | LF | 2 | 2220 |  | In-house
15 | Unimproved surface restoration | 370 | SY | 4.47 | 1653.9 |  | 32 11 23.23 | 50
16 | Traffic Control | 1110 | LF | 2 | 2220 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 231057.95
|  |  |  | SALES TAX 9.3% | 21488.3894
|  |  |  | Bond @ $12/1000 +10% O&P | 3333.6117
|  |  |  | 10% CONTINGENCY | 25600
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 10414.7582
|  |  |  | TOTAL CONSTRUCITON COSTS | 291894.7092
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 331400
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 102200
|  |  |  | PROJECT COST | 433600
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D3
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D3, Replace Undersized Lines, Hake Road
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 110600 | 110600
2 | Water Line, 8-Inch Dia (DIP) | 3500 | LF | 86 | 301000 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 6 | EA | 2550 | 15300 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 10 | EA | 6775 | 67750 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 11 | EA | 111 | 1221 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 15 | CY | 86.5 | 1297.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 2625 | LCY | 35.5 | 93187.5 |  | 31 23 23.16 | 50
10 | Compaction | 1944.4444 | ECY | 6 | 11666.6667 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 1166.6667 | SY | 4.27 | 4981.6667 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 7000 | LF | 1.92 | 13440 |  | 31 25 14.16 | 1000
13 | Trench Safety | 3500 | LF | 4 | 14000 |  | In-house
14 | Testing | 3500 | LF | 2 | 7000 |  | In-house
15 | Unimproved surface restoration | 1166.6667 | SY | 4.47 | 5215 |  | 32 11 23.23 | 50
16 | Traffic Control | 3500 | LF | 2 | 7000 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 663404.3333
|  |  |  | SALES TAX 9.3% | 61696.603
|  |  |  | Bond @ $12/1000 +10% O&P | 9571.3324
|  |  |  | 10% CONTINGENCY | 73500
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 29902.3739
|  |  |  | TOTAL CONSTRUCITON COSTS | 838074.6426
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 951400
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 293300
|  |  |  | PROJECT COST | 1244700
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D4
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D4, Replace Undersized Lines, Upper Sandy – 275th
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 64700 | 64700
2 | Water Line, 8-Inch Dia (DIP) | 1945 | LF | 86 | 167270 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 4 | EA | 2550 | 10200 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 6 | EA | 6775 | 40650 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 7 | EA | 111 | 777 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 15 | CY | 86.5 | 1297.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 1458.75 | LCY | 35.5 | 51785.625 |  | 31 23 23.16 | 50
10 | Compaction | 1080.5556 | ECY | 6 | 6483.3333 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 648.3333 | SY | 4.27 | 2768.3833 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 3890 | LF | 1.92 | 7468.8 |  | 31 25 14.16 | 1000
13 | Trench Safety | 1945 | LF | 4 | 7780 |  | In-house
14 | Testing | 1945 | LF | 2 | 3890 |  | In-house
15 | Unimproved surface restoration | 648.3333 | SY | 4.47 | 2898.05 |  | 32 11 23.23 | 50
16 | Traffic Control | 1945 | LF | 2 | 3890 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 388378.6917
|  |  |  | SALES TAX 9.3% | 36119.2183
|  |  |  | Bond @ $12/1000 +10% O&P | 5603.3724
|  |  |  | 10% CONTINGENCY | 43000
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 17504.7474
|  |  |  | TOTAL CONSTRUCITON COSTS | 490606.0299
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 557000
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 171700
|  |  |  | PROJECT COST | 728700
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D5
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D5, Replace Undersized Lines, 94th Ave.
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 57100 | 57100
2 | Water Line, 8-Inch Dia (DIP) | 1620 | LF | 86 | 139320 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 3 | EA | 2550 | 7650 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 4 | EA | 6775 | 27100 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 5 | EA | 6775 | 33875 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 6 | EA | 111 | 666 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 15 | CY | 86.5 | 1297.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 1215 | LCY | 35.5 | 43132.5 |  | 31 23 23.16 | 50
10 | Compaction | 900 | ECY | 6 | 5400 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 540 | SY | 4.27 | 2305.8 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 3240 | LF | 1.92 | 6220.8 |  | 31 25 14.16 | 1000
13 | Trench Safety | 1620 | LF | 4 | 6480 |  | In-house
14 | Testing | 1620 | LF | 2 | 3240 |  | In-house
15 | Unimproved surface restoration | 540 | SY | 4.47 | 2413.8 |  | 32 11 23.23 | 50
16 | Traffic Control | 1620 | LF | 2 | 3240 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 342411.4
|  |  |  | SALES TAX 9.3% | 31844.2602
|  |  |  | Bond @ $12/1000 +10% O&P | 4940.1747
|  |  |  | 10% CONTINGENCY | 37900
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 15432.5459
|  |  |  | TOTAL CONSTRUCITON COSTS | 432528.3808
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 491000
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 151400
|  |  |  | PROJECT COST | 642400
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D6
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D6, Replace Undersized Lines, Upper Sandy – 274th and 90th
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 76700 | 76700
2 | Water Line, 8-Inch Dia (DIP) | 2300 | LF | 86 | 197800 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 4 | EA | 2550 | 10200 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 3 | EA | 6775 | 20325 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 7 | EA | 6775 | 47425 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 8 | EA | 111 | 888 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 15 | CY | 86.5 | 1297.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 1725 | LCY | 35.5 | 61237.5 |  | 31 23 23.16 | 50
10 | Compaction | 1277.7778 | ECY | 6 | 7666.6667 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 766.6667 | SY | 4.27 | 3273.6667 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 4600 | LF | 1.92 | 8832 |  | 31 25 14.16 | 1000
13 | Trench Safety | 2300 | LF | 4 | 9200 |  | In-house
14 | Testing | 2300 | LF | 2 | 4600 |  | In-house
15 | Unimproved surface restoration | 766.6667 | SY | 4.47 | 3427 |  | 32 11 23.23 | 50
16 | Traffic Control | 2300 | LF | 2 | 4600 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 460442.3333
|  |  |  | SALES TAX 9.3% | 42821.137
|  |  |  | Bond @ $12/1000 +10% O&P | 6643.0778
|  |  |  | 10% CONTINGENCY | 51000
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 20753.5423
|  |  |  | TOTAL CONSTRUCITON COSTS | 581660.0904
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 660300
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 203600
|  |  |  | PROJECT COST | 863900
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D7
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D7, Eastern Dockton Line [99th] Replacement to 264th
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 98700 | 98700
2 | Water Line, 8-Inch Dia (DIP) | 3100 | LF | 86 | 266600 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 6 | EA | 2550 | 15300 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 9 | EA | 6775 | 60975 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 10 | EA | 111 | 1110 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 15 | CY | 86.5 | 1297.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 2325 | LCY | 35.5 | 82537.5 |  | 31 23 23.16 | 50
10 | Compaction | 1722.2222 | ECY | 6 | 10333.3333 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 1033.3333 | SY | 4.27 | 4412.3333 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 6200 | LF | 1.92 | 11904 |  | 31 25 14.16 | 1000
13 | Trench Safety | 3100 | LF | 4 | 12400 |  | In-house
14 | Testing | 3100 | LF | 2 | 6200 |  | In-house
15 | Unimproved surface restoration | 1033.3333 | SY | 4.47 | 4619 |  | 32 11 23.23 | 50
16 | Traffic Control | 3100 | LF | 2 | 6200 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 592333.6667
|  |  |  | SALES TAX 9.3% | 55087.031
|  |  |  | Bond @ $12/1000 +10% O&P | 8545.9532
|  |  |  | 10% CONTINGENCY | 65600
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 26697.9661
|  |  |  | TOTAL CONSTRUCITON COSTS | 748264.617
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 849500
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 261900
|  |  |  | PROJECT COST | 1111400
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D8
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D8, Replace Undersized Lines, 265th
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 26200 | 26200
2 | Water Line, 8-Inch Dia (DIP) | 730 | LF | 86 | 62780 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 2 | EA | 2550 | 5100 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 3 | EA | 6775 | 20325 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 4 | EA | 111 | 444 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 2 | CY | 86.5 | 173 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 547.5 | LCY | 35.5 | 19436.25 |  | 31 23 23.16 | 50
10 | Compaction | 405.5556 | ECY | 6 | 2433.3333 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 243.3333 | SY | 4.27 | 1039.0333 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 1460 | LF | 1.92 | 2803.2 |  | 31 25 14.16 | 1000
13 | Trench Safety | 730 | LF | 4 | 2920 |  | In-house
14 | Testing | 730 | LF | 2 | 1460 |  | In-house
15 | Unimproved surface restoration | 243.3333 | SY | 4.47 | 1087.7 |  | 32 11 23.23 | 50
16 | Traffic Control | 730 | LF | 2 | 1460 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 157406.5167
|  |  |  | SALES TAX 9.3% | 14638.806
|  |  |  | Bond @ $12/1000 +10% O&P | 2270.9983
|  |  |  | 10% CONTINGENCY | 17400
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 7093.5039
|  |  |  | TOTAL CONSTRUCITON COSTS | 198809.8249
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 225700
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 69600
|  |  |  | PROJECT COST | 295300
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D9
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D9, Replace Undersized Lines, 263rd
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 43800 | 43800
2 | Water Line, 8-Inch Dia (DIP) | 1330 | LF | 86 | 114380 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 3 | EA | 2550 | 7650 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 4 | EA | 6775 | 27100 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 5 | EA | 111 | 555 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 2 | CY | 86.5 | 173 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 997.5 | LCY | 35.5 | 35411.25 |  | 31 23 23.16 | 50
10 | Compaction | 738.8889 | ECY | 6 | 4433.3333 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 443.3333 | SY | 4.27 | 1893.0333 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 2660 | LF | 1.92 | 5107.2 |  | 31 25 14.16 | 1000
13 | Trench Safety | 1330 | LF | 4 | 5320 |  | In-house
14 | Testing | 1330 | LF | 2 | 2660 |  | In-house
15 | Unimproved surface restoration | 443.3333 | SY | 4.47 | 1981.7 |  | 32 11 23.23 | 50
16 | Traffic Control | 1330 | LF | 2 | 2660 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 262869.5167
|  |  |  | SALES TAX 9.3% | 24446.8651
|  |  |  | Bond @ $12/1000 +10% O&P | 3792.5762
|  |  |  | 10% CONTINGENCY | 29100
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 11847.7314
|  |  |  | TOTAL CONSTRUCITON COSTS | 332056.6894
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 377000
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 116200
|  |  |  | PROJECT COST | 493200
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D10
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D10, Replace Undersized Lines, 262nd
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 30700 | 30700
2 | Water Line, 8-Inch Dia (DIP) | 900 | LF | 86 | 77400 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 2 | EA | 2550 | 5100 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 3 | EA | 6775 | 20325 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 4 | EA | 111 | 444 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 1 | CY | 86.5 | 86.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 675 | LCY | 35.5 | 23962.5 |  | 31 23 23.16 | 50
10 | Compaction | 500 | ECY | 6 | 3000 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 300 | SY | 4.27 | 1281 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 1800 | LF | 1.92 | 3456 |  | 31 25 14.16 | 1000
13 | Trench Safety | 900 | LF | 4 | 3600 |  | In-house
14 | Testing | 900 | LF | 2 | 1800 |  | In-house
15 | Unimproved surface restoration | 300 | SY | 4.47 | 1341 |  | 32 11 23.23 | 50
16 | Traffic Control | 900 | LF | 2 | 1800 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 184041
|  |  |  | SALES TAX 9.3% | 17115.813
|  |  |  | Bond @ $12/1000 +10% O&P | 2655.2699
|  |  |  | 10% CONTINGENCY | 20400
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 8295.8471
|  |  |  | TOTAL CONSTRUCITON COSTS | 232507.93
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 264000
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 81400
|  |  |  | PROJECT COST | 345400
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D11
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D11, Loop. SW Summerhurst Rd.
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 32000 | 32000
2 | Water Line, 8-Inch Dia (DIP) | 950 | LF | 86 | 81700 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 2 | EA | 2550 | 5100 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 3 | EA | 6775 | 20325 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 4 | EA | 111 | 444 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 1 | CY | 86.5 | 86.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 712.5 | LCY | 35.5 | 25293.75 |  | 31 23 23.16 | 50
10 | Compaction | 527.7778 | ECY | 6 | 3166.6667 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 316.6667 | SY | 4.27 | 1352.1667 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 1900 | LF | 1.92 | 3648 |  | 31 25 14.16 | 1000
13 | Trench Safety | 950 | LF | 4 | 3800 |  | In-house
14 | Testing | 950 | LF | 2 | 1900 |  | In-house
15 | Unimproved surface restoration | 316.6667 | SY | 4.47 | 1415.5 |  | 32 11 23.23 | 50
16 | Traffic Control | 950 | LF | 2 | 1900 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 191876.5833
|  |  |  | SALES TAX 9.3% | 17844.5223
|  |  |  | Bond @ $12/1000 +10% O&P | 2768.3186
|  |  |  | 10% CONTINGENCY | 21200
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 8646.5087
|  |  |  | TOTAL CONSTRUCITON COSTS | 242335.9329
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 275100
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 84800
|  |  |  | PROJECT COST | 359900
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D12
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D12, Loop. SW Summerhurst Rd. to Sandy Shores Dr. SW Connection
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 34600 | 34600
2 | Water Line, 8-Inch Dia (DIP) | 1000 | LF | 86 | 86000 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 2 | EA | 2550 | 5100 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 3 | EA | 6775 | 20325 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 4 | EA | 111 | 444 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 1 | CY | 86.5 | 86.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 750 | LCY | 35.5 | 26625 |  | 31 23 23.16 | 50
10 | Compaction | 555.5556 | ECY | 6 | 3333.3333 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 333.3333 | SY | 4.27 | 1423.3333 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 2000 | LF | 1.92 | 3840 |  | 31 25 14.16 | 1000
13 | Trench Safety | 1000 | LF | 4 | 4000 |  | In-house
14 | Testing | 1000 | LF | 2 | 2000 |  | In-house
15 | Unimproved surface restoration | 333.3333 | SY | 4.47 | 1490 |  | 32 11 23.23 | 50
16 | Traffic Control | 1000 | LF | 2 | 2000 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 207787.1667
|  |  |  | SALES TAX 9.3% | 19324.2065
|  |  |  | Bond @ $12/1000 +10% O&P | 2997.8701
|  |  |  | 10% CONTINGENCY | 23000
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 9365.042
|  |  |  | TOTAL CONSTRUCITON COSTS | 262474.2853
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 298000
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 91900
|  |  |  | PROJECT COST | 389900
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D13
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D13, Loop. Summerhurst Walk
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 72500 | 72500
2 | Water Line, 8-Inch Dia (DIP) | 2200 | LF | 86 | 189200 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 4 | EA | 2550 | 10200 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 7 | EA | 6775 | 47425 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 8 | EA | 111 | 888 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 1 | CY | 86.5 | 86.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 1650 | LCY | 35.5 | 58575 |  | 31 23 23.16 | 50
10 | Compaction | 1222.2222 | ECY | 6 | 7333.3333 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 733.3333 | SY | 4.27 | 3131.3333 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 4400 | LF | 1.92 | 8448 |  | 31 25 14.16 | 1000
13 | Trench Safety | 2200 | LF | 4 | 8800 |  | In-house
14 | Testing | 2200 | LF | 2 | 4400 |  | In-house
15 | Unimproved surface restoration | 733.3333 | SY | 4.47 | 3278 |  | 32 11 23.23 | 50
16 | Traffic Control | 2200 | LF | 2 | 4400 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 435185.1667
|  |  |  | SALES TAX 9.3% | 40472.2205
|  |  |  | Bond @ $12/1000 +10% O&P | 6278.6775
|  |  |  | 10% CONTINGENCY | 48200
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 19615.0344
|  |  |  | TOTAL CONSTRUCITON COSTS | 549751.0991
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 624100
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 192400
|  |  |  | PROJECT COST | 816500
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D14
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D14, Loop. Point Piner to 288th Connection
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 72800 | 72800
2 | Water Line, 8-Inch Dia (DIP) | 2210 | LF | 86 | 190060 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 4 | EA | 2550 | 10200 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 7 | EA | 6775 | 47425 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 8 | EA | 111 | 888 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 1 | CY | 86.5 | 86.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 1657.5 | LCY | 35.5 | 58841.25 |  | 31 23 23.16 | 50
10 | Compaction | 1227.7778 | ECY | 6 | 7366.6667 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 736.6667 | SY | 4.27 | 3145.5667 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 4420 | LF | 1.92 | 8486.4 |  | 31 25 14.16 | 1000
13 | Trench Safety | 2210 | LF | 4 | 8840 |  | In-house
14 | Testing | 2210 | LF | 2 | 4420 |  | In-house
15 | Unimproved surface restoration | 736.6667 | SY | 4.47 | 3292.9 |  | 32 11 23.23 | 50
16 | Traffic Control | 2210 | LF | 2 | 4420 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 436792.2833
|  |  |  | SALES TAX 9.3% | 40621.6824
|  |  |  | Bond @ $12/1000 +10% O&P | 6301.8643
|  |  |  | 10% CONTINGENCY | 48400
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 19688.2857
|  |  |  | TOTAL CONSTRUCITON COSTS | 551804.1157
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 626400
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 193100
|  |  |  | PROJECT COST | 819500
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## D15
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
D14, Loop. Hake Rd. and Manzanita Connection
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 13100 | 13100
2 | Water Line, 8-Inch Dia (DIP) | 300 | LF | 86 | 25800 |  | 33 14 13.15 | 2060
3 | Gate Valves, 8-Inch | 1 | EA | 2550 | 2550 |  | 33 14 19.10 | 3816
4 | Water Line, Connect to Existing | 2 | EA | 6775 | 13550 |  | 33 05 97.05 | 20
5 | Fire Hydrant, Connect to Existing | 1 | EA | 6775 | 6775 |  | 33 05 97.05 | 20
6 | Blow-Off Assembly | 3 | EA | 990 | 2970 |  | 33 14 19.20 | 1120
7 | Thrust Block | 2 | EA | 111 | 222 |  | 33 14 13.90 | 120
8 | Flowable Fill (Abandon Ex Pipe) | 1 | CY | 86.5 | 86.5 |  | 03 31 13.35 | 4100
9 | Excavation and Fill | 225 | LCY | 35.5 | 7987.5 |  | 31 23 23.16 | 50
10 | Compaction | 166.6667 | ECY | 6 | 1000 |  | 31 23 23.16 | 500
11 | TESC-Revegetation Mat | 100 | SY | 4.27 | 427 |  | 31 25 14.16 | 120
12 | TESC-Silt Fence | 600 | LF | 1.92 | 1152 |  | 31 25 14.16 | 1000
13 | Trench Safety | 300 | LF | 4 | 1200 |  | In-house
14 | Testing | 300 | LF | 2 | 600 |  | In-house
15 | Unimproved surface restoration | 100 | SY | 4.47 | 447 |  | 32 11 23.23 | 50
16 | Traffic Control | 300 | LF | 2 | 600 |  | In-house
|  |  |  | CONSTRUCTION COST SUBTOTAL | 78467
|  |  |  | SALES TAX 9.3% | 7297.431
|  |  |  | Bond @ $12/1000 +10% O&P | 1132.0905
|  |  |  | 10% CONTINGENCY | 8700
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 3537.0713
|  |  |  | TOTAL CONSTRUCITON COSTS | 99133.5928
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 112500
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 34700
|  |  |  | PROJECT COST | 147200
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## S1
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
S1, Replace Deep Well Pump, Sandy Shores.
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 1000 | 1000
2 | Pump, 4-inch Submersible | 1 | LS | 4800 | 4800 |  | 33 11 13.10 | 2000
3
4
5
6
7
8
9
10
11
12
13
14
15
16
|  |  |  | CONSTRUCTION COST SUBTOTAL | 5800
|  |  |  | SALES TAX 9.3% | 539.4
|  |  |  | Bond @ $12/1000 +10% O&P | 83.6801
|  |  |  | 10% CONTINGENCY | 600
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 259.854
|  |  |  | TOTAL CONSTRUCITON COSTS | 7282.934
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 8300
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 35% | 2500
|  |  |  | PROJECT COST | 10800
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47

## ST1
Dahle Engineering, LLC
P.O. Box 731334 Puyallup, WA 98373 |  |  |  | (253) 260-3613 Ben@DahleEngineering.com
Rough Order of Magnitude (ROM) Cost Estimate
Job Number: | DWA-01 |  |  | Date: | 2022-05-23
Client: | Dockton Water Association |  |  | Estimated By: |  | BPD
Project Title: | Small Water System Maintenance Plan
ST1, New 160,000-gallon Storage Tank
Location: | Vashon, Washington
Item |  | Estimated |  | Unit | Estimated
Number | Description | Quantity | Unit | Price | Cost |  | Assembly # | Sub Assembly #
1 | Mobilization (20%) | 1 | LS | 79700 | 79700
2 | Steel, Ground Level, 100,000 gal | 1.6 | EA | 244500 | 391200 |  | 33 16 23.13 | 910
3 | Foundation Mat | 14.4 | CY | 490 | 7056 |  | 03 30 53.40 | 4000
4
5
6
7
8
9
10
11
12
13
14
15
16
|  |  |  | CONSTRUCTION COST SUBTOTAL | 477956
|  |  |  | SALES TAX 9.3% | 44449.908
|  |  |  | Bond @ $12/1000 +10% O&P | 6895.758
|  |  |  | 10% CONTINGENCY | 52900
|  |  |  | RSMeans TACOMA COST INDEX 103.7 | 21541.4616
|  |  |  | TOTAL CONSTRUCITON COSTS | 603743.1276
|  |  |  | MAY 2022 ADJ. TOTAL CONSTRUCITON COSTS | 685400
ENGINEERING DESIGN, CONSTRUCTION MANAGEMENT,
|  |  |  | PERMITTING, PROJECT ADMINISTRATION 15% | 90600
|  |  |  | PROJECT COST | 776000
1 | Prices were based on the 2020 Heavy Construction Costs with RSMeans data.
Location Factor of 103.7 as applied for Tacoma.
2 | All materials and workmanship shall conform to the Valley Water District
Standard Specifications and Standard Details.
3 | ENR CCI Index August 2020: 11455, May 2022: 13004.47